## page 22
F R E S H W A T E R A Q U A T I C L I F E - C H R O M I U M ( I I I )
U S E P A N a t i o n a l R e c o m m e n d e d W a t e r Q u a l i t y C r i t e r i a t o P r o t e c t F r e s h w a t e r A q u a t i c L i f e
C h r o m i u m ( I I I ) ( u g / L )
| D i s s o l v e d |  | T o t a l R e c o v e r a b l e
H a r d n e s s | Continuous Conc. | Maximum Conc. | Continuous Conc. | Maximum Conc.
(mg/L as CaCO3) | 4-day Average | 1-hour Average | 4-day Average | 1-hour Average
< 25 | use formula | use formula | use formula | use formula | Hardness (mg/l as CaCO3) | Criteria Continuous Concentration (4-day Average, dissolved) = (e{0.8190[ln(hardness)] + 0.6848}) x (0.860) | Criteria Maximum Concentration (1-hour Average, dissolved) = (e{0.8190[ln(hardness)] + 3.7256}) x (0.316) | Criteria Continuous Concentration (4-day Average, total recoverable) = (e{0.8190[ln(hardness)] + 0.6848}) | Criteria Maximum Concentration (1-hour Average, total recoverable) = (e{0.8190[ln(hardness)] + 3.7256})
25 | 23.8131 | 180 | 27.6897 | 580 | 25 | 23.8131 | 183.0659 | 27.6897 | 579.3225
30 | 27.6481 | 210 | 32.149 | 670 | 30 | 27.6481 | 212.5479 | 32.149 | 672.6201
35 | 31.3686 | 240 | 36.4751 | 760 | 35 | 31.3686 | 241.1495 | 36.4751 | 763.1313
40 | 34.9937 | 270 | 40.6904 | 850 | 40 | 34.9937 | 269.0182 | 40.6904 | 851.3236
45 | 38.5376 | 300 | 44.8111 | 940 | 45 | 38.5376 | 296.2618 | 44.8111 | 937.5373
50 | 42.0107 | 320 | 48.8496 | 1000 | 50 | 42.0107 | 322.9617 | 48.8496 | 1022.0307
55 | 45.4214 | 350 | 52.8156 | 1100 | 55 | 45.4214 | 349.1818 | 52.8156 | 1105.0058
60 | 48.7763 | 370 | 56.7167 | 1200 | 60 | 48.7763 | 374.9734 | 56.7167 | 1186.6247
65 | 52.081 | 400 | 60.5593 | 1300 | 65 | 52.081 | 400.3784 | 60.5593 | 1267.0203
70 | 55.3399 | 430 | 64.3488 | 1300 | 70 | 55.3399 | 425.4318 | 64.3488 | 1346.303
75 | 58.557 | 450 | 68.0895 | 1400 | 75 | 58.557 | 450.163 | 68.0895 | 1424.5664
80 | 61.7354 | 470 | 71.7853 | 1500 | 80 | 61.7354 | 474.5973 | 71.7853 | 1501.8903
85 | 64.878 | 500 | 75.4395 | 1600 | 85 | 64.878 | 498.7567 | 75.4395 | 1578.3438
90 | 67.9873 | 520 | 79.055 | 1700 | 90 | 67.9873 | 522.6599 | 79.055 | 1653.9872
95 | 71.0655 | 550 | 82.6343 | 1700 | 95 | 71.0655 | 546.3239 | 82.6343 | 1728.8732
100 | 74.1145 | 570 | 86.1797 | 1800 | 100 | 74.1145 | 569.7635 | 86.1797 | 1803.049
110 | 80.1316 | 620 | 93.1763 | 1900 | 105 | 77.136 | 592.9917 | 89.6931 | 1876.5561
120 | 86.0504 | 660 | 100 | 2100 | 110 | 80.1316 | 616.0206 | 93.1763 | 1949.4322
130 | 91.8804 | 710 | 110 | 2200 | 115 | 83.1026 | 638.8606 | 96.631 | 2021.7109
140 | 97.6297 | 750 | 110 | 2400 | 120 | 86.0504 | 661.5216 | 100.0586 | 2093.4229
150 | 100 | 790 | 120 | 2500 | 125 | 88.9759 | 684.0123 | 103.4604 | 2164.5959
160 | 110 | 840 | 130 | 2600 | 130 | 91.8804 | 706.3407 | 106.8377 | 2235.2553
170 | 110 | 880 | 130 | 2800 | 135 | 94.7647 | 728.5141 | 110.1915 | 2305.4244
180 | 120 | 920 | 140 | 2900 | 140 | 97.6297 | 750.5393 | 113.523 | 2375.1245
190 | 130 | 960 | 150 | 3100 | 145 | 100.4763 | 772.4226 | 116.8329 | 2444.3755
200 | 130 | 1000 | 150 | 3200 | 150 | 103.3052 | 794.1698 | 120.1223 | 2513.1954
210 | 140 | 1000 | 160 | 3300 | 155 | 106.117 | 815.786 | 123.3919 | 2581.6014
220 | 140 | 1100 | 160 | 3400 | 160 | 108.9125 | 837.2764 | 126.6424 | 2649.609
230 | 150 | 1100 | 170 | 3600 | 165 | 111.6922 | 858.6456 | 129.8746 | 2717.2329
240 | 150 | 1200 | 180 | 3700 | 170 | 114.4566 | 879.8979 | 133.0891 | 2784.487
250 | 160 | 1200 | 180 | 3800 | 175 | 117.2064 | 901.0373 | 136.2866 | 2851.3838
260 | 160 | 1200 | 190 | 3900 | 180 | 119.9421 | 922.0677 | 139.4675 | 2917.9356
270 | 170 | 1300 | 190 | 4100 | 185 | 122.664 | 942.9925 | 142.6325 | 2984.1536
280 | 170 | 1300 | 200 | 4200 | 190 | 125.3726 | 963.8153 | 145.7821 | 3050.0483
290 | 180 | 1400 | 210 | 4300 | 195 | 128.0683 | 984.5391 | 148.9166 | 3115.6299
300 | 180 | 1400 | 210 | 4400 | 200 | 130.7516 | 1005.1669 | 152.0367 | 3180.9079
310 | 190 | 1400 | 220 | 4600 | 205 | 133.4227 | 1025.7016 | 155.1427 | 3245.891
320 | 190 | 1500 | 220 | 4700 | 210 | 136.0821 | 1046.1458 | 158.235 | 3310.5879
330 | 200 | 1500 | 230 | 4800 | 215 | 138.73 | 1066.5021 | 161.314 | 3375.0066
340 | 200 | 1600 | 230 | 4900 | 220 | 141.3668 | 1086.7728 | 164.38 | 3439.1546
350 | 210 | 1600 | 240 | 5000 | 225 | 143.9928 | 1106.9604 | 167.4335 | 3503.0393
360 | 210 | 1600 | 250 | 5100 | 230 | 146.6083 | 1127.0669 | 170.4747 | 3566.6675
370 | 220 | 1700 | 250 | 5300 | 235 | 149.2134 | 1147.0945 | 173.504 | 3630.0458
380 | 220 | 1700 | 260 | 5400 | 240 | 151.8086 | 1167.045 | 176.5216 | 3693.1805
390 | 230 | 1700 | 260 | 5500 | 245 | 154.394 | 1186.9205 | 179.5279 | 3756.0775
400 | 230 | 1800 | 270 | 5600 | 250 | 156.9698 | 1206.7227 | 182.5231 | 3818.7426
> 400 | 230 | 1800 | 270 | 5600 | 255 | 159.5364 | 1226.4533 | 185.5074 | 3881.1813
[5 empty] | 260 | 162.0938 | 1246.114 | 188.4812 | 3943.3987
[5 empty] | 265 | 164.6424 | 1265.7064 | 191.4446 | 4005.4
[5 empty] | 270 | 167.1823 | 1285.232 | 194.398 | 4067.1898
[5 empty] | 275 | 169.7137 | 1304.6922 | 197.3415 | 4128.7729
[5 empty] | 280 | 172.2367 | 1324.0886 | 200.2753 | 4190.1537
[5 empty] | 285 | 174.7516 | 1343.4223 | 203.1996 | 4251.3363
[5 empty] | 290 | 177.2586 | 1362.6947 | 206.1146 | 4312.325
[5 empty] | 295 | 179.7577 | 1381.9071 | 209.0206 | 4373.1236
[5 empty] | 300 | 182.2492 | 1401.0606 | 211.9177 | 4433.736
[5 empty] | 305 | 184.7332 | 1420.1564 | 214.806 | 4494.1658
[5 empty] | 310 | 187.2098 | 1439.1956 | 217.6858 | 4554.4166
[5 empty] | 315 | 189.6792 | 1458.1794 | 220.5572 | 4614.4917
[5 empty] | 320 | 192.1415 | 1477.1086 | 223.4203 | 4674.3944
[5 empty] | 325 | 194.5968 | 1495.9844 | 226.2754 | 4734.128
[5 empty] | 330 | 197.0454 | 1514.8078 | 229.1225 | 4793.6954
[5 empty] | 335 | 199.4872 | 1533.5795 | 231.9618 | 4853.0998
[5 empty] | 340 | 201.9224 | 1552.3006 | 234.7935 | 4912.3438
[5 empty] | 345 | 204.3512 | 1570.972 | 237.6177 | 4971.4304
[5 empty] | 350 | 206.7736 | 1589.5944 | 240.4344 | 5030.3621
[5 empty] | 355 | 209.1897 | 1608.1688 | 243.2439 | 5089.1417
[5 empty] | 360 | 211.5997 | 1626.6958 | 246.0462 | 5147.7716
[5 empty] | 365 | 214.0036 | 1645.1764 | 248.8414 | 5206.2543
[5 empty] | 370 | 216.4016 | 1663.6111 | 251.6298 | 5264.5922
[5 empty] | 375 | 218.7938 | 1682.0009 | 254.4113 | 5322.7875
[5 empty] | 380 | 221.1801 | 1700.3463 | 257.1862 | 5380.8426
[5 empty] | 385 | 223.5608 | 1718.648 | 259.9544 | 5438.7596
[5 empty] | 390 | 225.9359 | 1736.9068 | 262.7162 | 5496.5405
[5 empty] | 395 | 228.3055 | 1755.1233 | 265.4715 | 5554.1876
[5 empty] | 400 | 230.6696 | 1773.2981 | 268.2205 | 5611.7027