## page 24
F R E S H W A T E R A Q U A T I C L I F E - L E A D
C a l i f o r n i a T o x i c s R u l e a n d U S E P A N a t i o n a l R e c o m m e n d e d W a t e r Q u a l i t y C r i t e r i a t o P r o t e c t F r e s h w a t e r A q u a t i c L i f e
L e a d ( u g / L )
| D i s s o l v e d |  | T o t a l R e c o v e r a b l e
H a r d n e s s | Continuous Conc. | Maximum Conc. | Continuous Conc. | Maximum Conc.
(mg/L as CaCO3) | 4-day Average | 1-hour Average | 4-day Average | 1-hour Average
< 25 | use formula | use formula | use formula | use formula | Hardness (mg/l as CaCO3) | Criteria Continuous Concentration (4-day Average, dissolved) = (e{1.273[ln(hardness)] - 4.705}) x (1.46203 - {[ln(hardness)] x [0.145712]}) | Criteria Maximum Concentration (1-hour Average, dissolved) = (e{1.273[ln(hardness)] - 1.460}) x (1.46203 - {[ln(hardness)] x [0.145712]}) | Criteria Continuous Concentration (4-day Average, total recoverable) = (e{1.273[ln(hardness)] - 4.705}) | Criteria Maximum Concentration (1-hour Average, total recoverable) = (e{1.273[ln(hardness)] - 1.460})
25 | 0.54097 | 13.8822 | 0.54478 | 13.98 | 25 | 0.54097 | 13.8822 | 0.54478 | 13.98
30 | 0.66404 | 17.0403 | 0.6871 | 17.6322 | 30 | 0.66404 | 17.0403 | 0.6871 | 17.6322
35 | 0.78923 | 20.253 | 0.83607 | 21.455 | 35 | 0.78923 | 20.253 | 0.83607 | 21.455
40 | 0.91618 | 23.5108 | 0.99098 | 25.4304 | 40 | 0.91618 | 23.5108 | 0.99098 | 25.4304
45 | 1.0446 | 26.8069 | 1.1513 | 29.544 | 45 | 1.0446 | 26.8069 | 1.1513 | 29.544
50 | 1.1744 | 30.1359 | 1.3165 | 33.7846 | 50 | 1.1744 | 30.1359 | 1.3165 | 33.7846
55 | 1.3052 | 33.4936 | 1.4864 | 38.1427 | 55 | 1.3052 | 33.4936 | 1.4864 | 38.1427
60 | 1.437 | 36.8766 | 1.6605 | 42.6105 | 60 | 1.437 | 36.8766 | 1.6605 | 42.6105
65 | 1.5697 | 40.282 | 1.8386 | 47.1812 | 65 | 1.5697 | 40.282 | 1.8386 | 47.1812
70 | 1.7032 | 43.7073 | 2.0205 | 51.8489 | 70 | 1.7032 | 43.7073 | 2.0205 | 51.8489
75 | 1.8374 | 47.1505 | 2.206 | 56.6087 | 75 | 1.8374 | 47.1505 | 2.206 | 56.6087
80 | 1.9722 | 50.6099 | 2.3948 | 61.4559 | 80 | 1.9722 | 50.6099 | 2.3948 | 61.4559
85 | 2.1076 | 54.084 | 2.587 | 66.3866 | 85 | 2.1076 | 54.084 | 2.587 | 66.3866
90 | 2.2435 | 57.5713 | 2.7822 | 71.3971 | 90 | 2.2435 | 57.5713 | 2.7822 | 71.3971
95 | 2.3798 | 61.0708 | 2.9805 | 76.4843 | 95 | 2.3798 | 61.0708 | 2.9805 | 76.4843
100 | 2.5166 | 64.5814 | 3.1816 | 81.6451 | 100 | 2.5166 | 64.5814 | 3.1816 | 81.6451
110 | 2.7914 | 71.6321 | 3.592 | 92.1771 | 105 | 2.6538 | 68.1021 | 3.3855 | 86.8768
120 | 3.0675 | 78.717 | 4.0128 | 100 | 110 | 2.7914 | 71.6321 | 3.592 | 92.1771
130 | 3.3447 | 85.8308 | 4.4432 | 110 | 115 | 2.9293 | 75.1706 | 3.8011 | 97.5435
140 | 3.6229 | 92.9693 | 4.8828 | 130 | 120 | 3.0675 | 78.717 | 4.0128 | 102.974
150 | 3.9019 | 100.1286 | 5.331 | 140 | 125 | 3.206 | 82.2706 | 4.2268 | 108.4667
160 | 4.1815 | 110 | 5.7875 | 150 | 130 | 3.3447 | 85.8308 | 4.4432 | 114.0197
170 | 4.4618 | 110 | 6.2518 | 160 | 135 | 3.4837 | 89.3972 | 4.6619 | 119.6313
180 | 4.7426 | 120 | 6.7237 | 170 | 140 | 3.6229 | 92.9693 | 4.8828 | 125.3
190 | 5.0237 | 130 | 7.2027 | 180 | 145 | 3.7623 | 96.5465 | 5.1058 | 131.0242
200 | 5.3052 | 140 | 7.6887 | 200 | 150 | 3.9019 | 100.1286 | 5.331 | 136.8026
210 | 5.587 | 140 | 8.1814 | 210 | 155 | 4.0416 | 103.7151 | 5.5582 | 142.6338
220 | 5.8691 | 150 | 8.6806 | 220 | 160 | 4.1815 | 107.3056 | 5.7875 | 148.5165
230 | 6.1512 | 160 | 9.1859 | 240 | 165 | 4.3216 | 110.8999 | 6.0187 | 154.4497
240 | 6.4336 | 170 | 9.6974 | 250 | 170 | 4.4618 | 114.4977 | 6.2518 | 160.4322
250 | 6.716 | 170 | 10.2146 | 260 | 175 | 4.6021 | 118.0986 | 6.4868 | 166.4629
260 | 6.9984 | 180 | 10.7376 | 280 | 180 | 4.7426 | 121.7024 | 6.7237 | 172.5409
270 | 7.2809 | 190 | 11.266 | 290 | 185 | 4.8831 | 125.3088 | 6.9623 | 178.6651
280 | 7.5634 | 190 | 11.7999 | 300 | 190 | 5.0237 | 128.9177 | 7.2027 | 184.8347
290 | 7.8458 | 200 | 12.3389 | 320 | 195 | 5.1645 | 132.5287 | 7.4449 | 191.0487
300 | 8.1282 | 210 | 12.8831 | 330 | 200 | 5.3052 | 136.1417 | 7.6887 | 197.3064
310 | 8.4105 | 220 | 13.4322 | 340 | 205 | 5.4461 | 139.7566 | 7.9343 | 203.607
320 | 8.6927 | 220 | 13.9862 | 360 | 210 | 5.587 | 143.373 | 8.1814 | 209.9497
330 | 8.9747 | 230 | 14.545 | 370 | 215 | 5.728 | 146.9909 | 8.4302 | 216.3337
340 | 9.2566 | 240 | 15.1084 | 390 | 220 | 5.8691 | 150.61 | 8.6806 | 222.7584
350 | 9.5384 | 240 | 15.6763 | 400 | 225 | 6.0101 | 154.2303 | 8.9325 | 229.2231
360 | 9.8199 | 250 | 16.2487 | 420 | 230 | 6.1512 | 157.8515 | 9.1859 | 235.7271
370 | 10.1013 | 260 | 16.8254 | 430 | 235 | 6.2924 | 161.4736 | 9.4409 | 242.2699
380 | 10.3825 | 270 | 17.4064 | 450 | 240 | 6.4336 | 165.0963 | 9.6974 | 248.8508
390 | 10.6635 | 270 | 17.9916 | 460 | 245 | 6.5748 | 168.7197 | 9.9553 | 255.4692
400 | 10.9442 | 280 | 18.5809 | 480 | 250 | 6.716 | 172.3435 | 10.2146 | 262.1245
> 400 | 10.9442 | 280 | 18.5809 | 480 | 255 | 6.8572 | 175.9676 | 10.4754 | 268.8164
[5 empty] | 260 | 6.9984 | 179.5919 | 10.7376 | 275.5441
[5 empty] | 265 | 7.1397 | 183.2164 | 11.0011 | 282.3073
[5 empty] | 270 | 7.2809 | 186.8409 | 11.266 | 289.1053
[5 empty] | 275 | 7.4222 | 190.4653 | 11.5323 | 295.9379
[5 empty] | 280 | 7.5634 | 194.0896 | 11.7999 | 302.8044
[5 empty] | 285 | 7.7046 | 197.7137 | 12.0687 | 309.7045
[5 empty] | 290 | 7.8458 | 201.3374 | 12.3389 | 316.6378
[5 empty] | 295 | 7.987 | 204.9607 | 12.6104 | 323.6037
[5 empty] | 300 | 8.1282 | 208.5835 | 12.8831 | 330.602
[5 empty] | 305 | 8.2694 | 212.2058 | 13.157 | 337.6321
[5 empty] | 310 | 8.4105 | 215.8275 | 13.4322 | 344.6938
[5 empty] | 315 | 8.5516 | 219.4484 | 13.7086 | 351.7867
[5 empty] | 320 | 8.6927 | 223.0687 | 13.9862 | 358.9103
[5 empty] | 325 | 8.8337 | 226.6881 | 14.265 | 366.0645
[5 empty] | 330 | 8.9747 | 230.3066 | 14.545 | 373.2487
[5 empty] | 335 | 9.1157 | 233.9242 | 14.8261 | 380.4627
[5 empty] | 340 | 9.2566 | 237.5409 | 15.1084 | 387.7062
[5 empty] | 345 | 9.3975 | 241.1564 | 15.3918 | 394.9788
[5 empty] | 350 | 9.5384 | 244.771 | 15.6763 | 402.2802
[5 empty] | 355 | 9.6792 | 248.3843 | 15.9619 | 409.6102
[5 empty] | 360 | 9.8199 | 251.9965 | 16.2487 | 416.9684
[5 empty] | 365 | 9.9607 | 255.6075 | 16.5365 | 424.3546
[5 empty] | 370 | 10.1013 | 259.2172 | 16.8254 | 431.7684
[5 empty] | 375 | 10.2419 | 262.8256 | 17.1154 | 439.2096
[5 empty] | 380 | 10.3825 | 266.4326 | 17.4064 | 446.678
[5 empty] | 385 | 10.523 | 270.0383 | 17.6985 | 454.1733
[5 empty] | 390 | 10.6635 | 273.6425 | 17.9916 | 461.6951
[5 empty] | 395 | 10.8038 | 277.2452 | 18.2857 | 469.2434
[5 empty] | 400 | 10.9442 | 280.8465 | 18.5809 | 476.8178