## page 20
F R E S H W A T E R A Q U A T I C L I F E - C A D M I U M ( 2 0 1 6)
U S E P A N a t i o n a l R e c o m m e n d e d W a t e r Q u a l i t y C r i t e r i a t o P r o t e c t F r e s h w a t e r A q u a t i c L i f e
C a d m i u m ( u g / L )
| D i s s o l v e d |  | T o t a l R e c o v e r a b l e
H a r d n e s s | Continuous Conc. | Maximum Conc. | Continuous Conc. | Maximum Conc.
(mg/L as CaCO3) | 4-day Average | 24-hr Average | 4-day Average | 24-hr Average |  | Dissolved |  | Total Recoverable
< 25 | use formula | use formula | use formula | use formula | Hardness (mg/l as CaCO3) | Criteria Continuous Concentration (4-day Average, dissolved) = (exp{0.7977[ln(hardness)] - 3.909}) x (1.101672 - {[ln(hardness)] x [0.041838]}) | Criteria Maximum Concentration (24-hour Average, dissolved) = (exp{0.9789[ln(hardness)] - 3.866}) x (1.136672 - {[ln(hardness)] x [0.041838]}) | Criteria Continuous Concentration (4-day Average, total recoverable) = (exp{0.7977[ln(hardness)] - 3.909}) | Criteria Maximum Concentration (24-hour Average, total recoverable = (exp{0.9789[ln(hardness)] - 3.866})
25 | 0.25288 | 0.49015 | 0.2615 | 0.48917 | 25 | 0.25288 | 0.49015 | 0.2615 | 0.48917
30 | 0.29015 | 0.58146 | 0.30244 | 0.58475 | 30 | 0.29015 | 0.58146 | 0.30244 | 0.58475
35 | 0.32591 | 0.67178 | 0.34202 | 0.68 | 35 | 0.32591 | 0.67178 | 0.34202 | 0.68
40 | 0.36042 | 0.76126 | 0.38046 | 0.77495 | 40 | 0.36042 | 0.76126 | 0.38046 | 0.77495
45 | 0.39387 | 0.85001 | 0.41794 | 0.86966 | 45 | 0.39387 | 0.85001 | 0.41794 | 0.86966
50 | 0.4264 | 0.93811 | 0.45458 | 0.96414 | 50 | 0.4264 | 0.93811 | 0.45458 | 0.96414
55 | 0.45812 | 1.0256 | 0.49049 | 1.0584 | 55 | 0.45812 | 1.0256 | 0.49049 | 1.0584
60 | 0.48914 | 1.1126 | 0.52574 | 1.1525 | 60 | 0.48914 | 1.1126 | 0.52574 | 1.1525
65 | 0.51951 | 1.1991 | 0.56041 | 1.2465 | 65 | 0.51951 | 1.1991 | 0.56041 | 1.2465
70 | 0.54931 | 1.2852 | 0.59454 | 1.3402 | 70 | 0.54931 | 1.2852 | 0.59454 | 1.3402
75 | 0.57857 | 1.3708 | 0.62817 | 1.4339 | 75 | 0.57857 | 1.3708 | 0.62817 | 1.4339
80 | 0.60735 | 1.4561 | 0.66136 | 1.5274 | 80 | 0.60735 | 1.4561 | 0.66136 | 1.5274
85 | 0.63568 | 1.541 | 0.69413 | 1.6208 | 85 | 0.63568 | 1.541 | 0.69413 | 1.6208
90 | 0.6636 | 1.6256 | 0.72651 | 1.7141 | 90 | 0.6636 | 1.6256 | 0.72651 | 1.7141
95 | 0.69113 | 1.7099 | 0.75853 | 1.8072 | 95 | 0.69113 | 1.7099 | 0.75853 | 1.8072
100 | 0.7183 | 1.7939 | 0.79021 | 1.9003 | 100 | 0.7183 | 1.7939 | 0.79021 | 1.9003
110 | 0.77164 | 1.961 | 0.85263 | 2.0861 | 105 | 0.74513 | 1.8776 | 0.82157 | 1.9932
120 | 0.82378 | 2.127 | 0.91391 | 2.2716 | 110 | 0.77164 | 1.961 | 0.85263 | 2.0861
130 | 0.87483 | 2.2922 | 0.97417 | 2.4567 | 115 | 0.79785 | 2.0441 | 0.88341 | 2.1789
140 | 0.9249 | 2.4565 | 1.0335 | 2.6416 | 120 | 0.82378 | 2.127 | 0.91391 | 2.2716
150 | 0.97408 | 2.6199 | 1.092 | 2.8261 | 125 | 0.84943 | 2.2097 | 0.94417 | 2.3642
160 | 1.0224 | 2.7827 | 1.1497 | 3.0104 | 130 | 0.87483 | 2.2922 | 0.97417 | 2.4567
170 | 1.07 | 2.9447 | 1.2066 | 3.1945 | 135 | 0.89998 | 2.3744 | 1.0039 | 2.5492
180 | 1.1169 | 3.1061 | 1.2629 | 3.3783 | 140 | 0.9249 | 2.4565 | 1.0335 | 2.6416
190 | 1.1632 | 3.2668 | 1.3186 | 3.562 | 145 | 0.9496 | 2.5383 | 1.0628 | 2.7339
200 | 1.2088 | 3.427 | 1.3736 | 3.7454 | 150 | 0.97408 | 2.6199 | 1.092 | 2.8261
210 | 1.2539 | 3.5867 | 1.4282 | 3.9286 | 155 | 0.99835 | 2.7014 | 1.1209 | 2.9183
220 | 1.2984 | 3.7458 | 1.4822 | 4.1116 | 160 | 1.0224 | 2.7827 | 1.1497 | 3.0104
230 | 1.3424 | 3.9044 | 1.5357 | 4.2945 | 165 | 1.0463 | 2.8638 | 1.1782 | 3.1025
240 | 1.3859 | 4.0625 | 1.5887 | 4.4772 | 170 | 1.07 | 2.9447 | 1.2066 | 3.1945
250 | 1.429 | 4.2202 | 1.6413 | 4.6597 | 175 | 1.0936 | 3.0255 | 1.2349 | 3.2865
260 | 1.4716 | 4.3774 | 1.6934 | 4.8421 | 180 | 1.1169 | 3.1061 | 1.2629 | 3.3783
270 | 1.5139 | 4.5342 | 1.7452 | 5.0243 | 185 | 1.1401 | 3.1865 | 1.2908 | 3.4702
280 | 1.5557 | 4.6906 | 1.7966 | 5.2064 | 190 | 1.1632 | 3.2668 | 1.3186 | 3.562
290 | 1.5971 | 4.8466 | 1.8476 | 5.3884 | 195 | 1.1861 | 3.347 | 1.3462 | 3.6537
300 | 1.6382 | 5.0023 | 1.8982 | 5.5702 | 200 | 1.2088 | 3.427 | 1.3736 | 3.7454
310 | 1.679 | 5.1575 | 1.9485 | 5.7519 | 205 | 1.2314 | 3.5069 | 1.401 | 3.837
320 | 1.7194 | 5.3125 | 1.9985 | 5.9335 | 210 | 1.2539 | 3.5867 | 1.4282 | 3.9286
330 | 1.7595 | 5.467 | 2.0481 | 6.1149 | 215 | 1.2762 | 3.6663 | 1.4552 | 4.0201
340 | 1.7992 | 5.6213 | 2.0975 | 6.2963 | 220 | 1.2984 | 3.7458 | 1.4822 | 4.1116
350 | 1.8387 | 5.7752 | 2.1466 | 6.4775 | 225 | 1.3205 | 3.8251 | 1.509 | 4.2031
360 | 1.8779 | 5.9289 | 2.1954 | 6.6586 | 230 | 1.3424 | 3.9044 | 1.5357 | 4.2945
370 | 1.9169 | 6.0822 | 2.2439 | 6.8396 | 235 | 1.3642 | 3.9835 | 1.5622 | 4.3859
380 | 1.9555 | 6.2352 | 2.2921 | 7.0205 | 240 | 1.3859 | 4.0625 | 1.5887 | 4.4772
390 | 1.9939 | 6.388 | 2.3401 | 7.2013 | 245 | 1.4075 | 4.1414 | 1.615 | 4.5685
400 | 2.0321 | 6.5405 | 2.3878 | 7.382 | 250 | 1.429 | 4.2202 | 1.6413 | 4.6597
> 400 | 2.0321 | 6.5405 | 2.3878 | 7.382 | 255 | 1.4504 | 4.2988 | 1.6674 | 4.7509
[5 empty] | 260 | 1.4716 | 4.3774 | 1.6934 | 4.8421
[5 empty] | 265 | 1.4928 | 4.4558 | 1.7194 | 4.9332
[5 empty] | 270 | 1.5139 | 4.5342 | 1.7452 | 5.0243
[5 empty] | 275 | 1.5348 | 4.6124 | 1.7709 | 5.1154
[5 empty] | 280 | 1.5557 | 4.6906 | 1.7966 | 5.2064
[5 empty] | 285 | 1.5765 | 4.7687 | 1.8221 | 5.2974
[5 empty] | 290 | 1.5971 | 4.8466 | 1.8476 | 5.3884
[5 empty] | 295 | 1.6177 | 4.9245 | 1.8729 | 5.4793
[5 empty] | 300 | 1.6382 | 5.0023 | 1.8982 | 5.5702
[5 empty] | 305 | 1.6586 | 5.0799 | 1.9234 | 5.6611
[5 empty] | 310 | 1.679 | 5.1575 | 1.9485 | 5.7519
[5 empty] | 315 | 1.6992 | 5.235 | 1.9735 | 5.8427
[5 empty] | 320 | 1.7194 | 5.3125 | 1.9985 | 5.9335
[5 empty] | 325 | 1.7395 | 5.3898 | 2.0234 | 6.0242
[5 empty] | 330 | 1.7595 | 5.467 | 2.0481 | 6.1149
[5 empty] | 335 | 1.7794 | 5.5442 | 2.0729 | 6.2056
[5 empty] | 340 | 1.7992 | 5.6213 | 2.0975 | 6.2963
[5 empty] | 345 | 1.819 | 5.6983 | 2.1221 | 6.3869
[5 empty] | 350 | 1.8387 | 5.7752 | 2.1466 | 6.4775
[5 empty] | 355 | 1.8584 | 5.8521 | 2.171 | 6.568
[5 empty] | 360 | 1.8779 | 5.9289 | 2.1954 | 6.6586
[5 empty] | 365 | 1.8974 | 6.0056 | 2.2196 | 6.7491
[5 empty] | 370 | 1.9169 | 6.0822 | 2.2439 | 6.8396
[5 empty] | 375 | 1.9362 | 6.1587 | 2.268 | 6.9301
[5 empty] | 380 | 1.9555 | 6.2352 | 2.2921 | 7.0205
[5 empty] | 385 | 1.9747 | 6.3116 | 2.3161 | 7.1109
[5 empty] | 390 | 1.9939 | 6.388 | 2.3401 | 7.2013
[5 empty] | 395 | 2.013 | 6.4643 | 2.364 | 7.2917
[5 empty] | 400 | 2.0321 | 6.5405 | 2.3878 | 7.382